## input
KCDB API CMC COUNTRY QUERY
purpose: allows to extract all the CMCs of specific country and metrology area
documentation of the API can be found here:
https://www.bipm.org/api/kcdb/swagger-ui.html#/
Tested for versionApiKcdb 1.0.7
peter.blattner@metas.ch
| Version: | 3
Version info
|  |  | 1 | query of all CMCs from Switzerland | don't change unless you know what you are doing |  |  |  |  | Switzerland | CH
|  |  | 2 | extension to query CMCs from other countries | [5 empty] | Albania | AL
| Parameter | Value | 3 | parameterlist from physics is expanded | 1 | Acoustics, Ultrasound, Vibration | AUV |  | physics | Argentina | AR
metrologyArea-> | metrologyArea | Photometry and Radiometry |  |  | 2 | Electricity and Magnetism | EM |  | physics | Australia | AU
select country-> | country | Czechia |  |  | 3 | Length | L |  | physics | Austria | AT
select elements/page (def:200) | pagesize | 200 |  |  | 4 | Mass and related quantities | M |  | physics | Azerbaijan | AZ
select a page (def:0) | page | 0 |  |  | 5 | Photometry and Radiometry | PR |  | physics | Bangladesh | BD
don't touch | selectedDomain | physics |  |  | 6 | Thermometry | T |  | physics | Belarus | BY
don't touch | areaCode | PR |  |  | 7 | Time and Frequency | TF |  | physics | Belgium | BE
don't touch | countrycode | CZ |  |  | 8 | Chemistry and Biology | QM |  | chemistryAndBiology | BIPM - International Organization | BI
don't touch | KCDB_API_Adresse | https://www.bipm.org/api/kcdb/cmc/searchData/physics |  |  | 9 | Ionizing Radiation | RI |  | radiation | Bolivia | BO
don't touch | JSONquery | {"page": 0,"pageSize": 200,"showTable": false,"metrologyAreaLabel": "PR","countries": ["CZ" ]} | [7 empty] | Bosnia and Herzegovina | BA
don't touch | JSONquery1 | {"page": 0,"pageSize": 1,"showTable": false,"metrologyAreaLabel": "PR","countries": ["CZ" ]} | [5 empty] | selected Domain | physics | Botswana | BW
[8 empty] | KCDB_API_Adresse_general | https://www.bipm.org/api/kcdb/cmc/searchData/ | Brazil | BR
Query the number of elements | Name | Value | [7 empty] | Bulgaria | BG
| totalElements | 49 | [7 empty] | Cambodia | KH
[10 empty] | Canada | CA
[10 empty] | CARICOM (Caribbean Community) | CAR
Query the version ApiKcdb | Name | Value | [7 empty] | Chile | CL
| versionApiKcdb | 1.0.7 | [7 empty] | China | CN
[10 empty] | Chinese Taipei | TW
[10 empty] | Colombia | CO
[10 empty] | Costa Rica | CR
Instructions | [9 empty] | Croatia | HR
0. accept all security alerts :-) | [9 empty] | Czechia | CZ
1. select metrologyArea & country | [9 empty] | Denmark | DK
2. change eventually pagesize and page | [9 empty] | Ecuador | EC
3. refresh data ("data -> refresh all") | [9 empty] | Egypt | EG
4. wait… (usually first time execution is quite slow) | [9 empty] | Estonia | EE
5. the results of the query are available in the worksheet "CMCs". | [9 empty] | Ethiopia | ET
[10 empty] | European Union | EU
[10 empty] | Finland | FI
[10 empty] | France | FR
[10 empty] | Georgia | GE
[10 empty] | Germany | DE
[10 empty] | Ghana | GH
[10 empty] | Greece | GR
[10 empty] | Hong Kong, China | HK
[10 empty] | Hungary | HU
[10 empty] | IAEA - International Organization | IA
[10 empty] | India | IN
[10 empty] | Indonesia | ID
[10 empty] | Iran (Islamic Republic of) | IR
[10 empty] | Iraq | IQ
[10 empty] | Ireland | IE
[10 empty] | Israel | IL
[10 empty] | Italy | IT
[10 empty] | Jamaica | JM
[10 empty] | Japan | JP
[10 empty] | Kazakhstan | KZ
[10 empty] | Kenya | KE
[10 empty] | Korea, Republic of | KR
[10 empty] | Kuwait | KW
[10 empty] | Latvia | LV
[10 empty] | Lithuania | LT
[10 empty] | Luxembourg | LU
[10 empty] | Malaysia | MY
[10 empty] | Malta | MT
[10 empty] | Mauritius | MU
[10 empty] | Mexico | MX
[10 empty] | Moldova, Republic of | MD
[10 empty] | Mongolia | MN
[10 empty] | Montenegro | ME
[10 empty] | Morocco | MA
[10 empty] | Namibia | NA
[10 empty] | Netherlands | NL
[10 empty] | New Zealand | NZ
[10 empty] | North Macedonia | MK
[10 empty] | Norway | NO
[10 empty] | Oman | OM
[10 empty] | Pakistan | PK
[10 empty] | Panama | PA
[10 empty] | Paraguay | PY
[10 empty] | Peru | PE
[10 empty] | Philippines | PH
[10 empty] | Poland | PL
[10 empty] | Portugal | PT
[10 empty] | Qatar | QA
[10 empty] | Romania | RO
[10 empty] | Russian Federation | RU
[10 empty] | Saudi Arabia | SA
[10 empty] | Serbia | RS
[10 empty] | Singapore | SG
[10 empty] | Slovakia | SK
[10 empty] | Slovenia | SI
[10 empty] | South Africa | ZA
[10 empty] | Spain | ES
[10 empty] | Sri Lanka | LK
[10 empty] | Sweden | SE
[10 empty] | Syrian Arab Republic | SY
[10 empty] | Tanzania | TZ
[10 empty] | Thailand | TH
[10 empty] | Tunisia | TN
[10 empty] | Türkiye | TR
[10 empty] | Ukraine | UA
[10 empty] | United Arab Emirates | AE
[10 empty] | United Kingdom | GB
[10 empty] | United States | US
[10 empty] | Uruguay | UY
[10 empty] | Uzbekistan | UZ
[10 empty] | Viet Nam | VN
[10 empty] | WMO - International Organization | WM
[10 empty] | Zambia | ZM
[10 empty] | Zimbabwe | ZW

## CMCs
id | status | statusDate | kcdbCode | domainCode | metrologyAreaLabel | rmo | countryValue | nmiCode | nmiName | nmiServiceCode | nmiServiceLink | quantityValue | cmc.lowerLimit | cmc.upperLimit | cmc.unit | cmcUncertainty.lowerLimit | cmcUncertainty.upperLimit | cmcUncertainty.unit | cmcBaseUnit.lowerLimit | cmcBaseUnit.upperLimit | cmcBaseUnit.unit | cmcUncertaintyBaseUnit.lowerLimit | cmcUncertaintyBaseUnit.upperLimit | cmcUncertaintyBaseUnit.unit | confidenceLevel | coverageFactor | uncertaintyEquation.equation | uncertaintyEquation.equationComment | uncertaintyTable.tableName | uncertaintyTable.tableRows | uncertaintyTable.tableCols | uncertaintyTable.tableComment | uncertaintyTable.tableContents | uncertaintyMode | traceabilitySource | comments | groupIdentifier | publicationDate | approvalDate | internationalStandard | branchValue | serviceValue | subServiceValue | individualServiceValue | instrument | instrumentMethod | parameters
11238 | Published | 2019-10-22 | EURAMET-PR-CZ-000008O6-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.65 | 1 | (dimensionless) | 0.0008 | 0.0008 | (dimensionless) | 0.65 | 1 | dimension 1 | 0.0008 | 0.0008 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 1000 nm,Bandwidth:&lt; 3 nm
11239 | Published | 2019-10-22 | EURAMET-PR-CZ-000008O7-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.3 | 0.65 | (dimensionless) | 0.0041 | 0.0041 | (dimensionless) | 0.3 | 0.65 | dimension 1 | 0.0041 | 0.0041 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 400 nm,Bandwidth:&lt; 3 nm
11240 | Published | 2019-10-22 | EURAMET-PR-CZ-000008O8-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.3 | 0.65 | (dimensionless) | 0.0013 | 0.0013 | (dimensionless) | 0.3 | 0.65 | dimension 1 | 0.0013 | 0.0013 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:400 nm to 700 nm,Bandwidth:&lt; 3 nm
11241 | Published | 2019-10-22 | EURAMET-PR-CZ-000008O9-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.3 | 0.65 | (dimensionless) | 0.0017 | 0.0017 | (dimensionless) | 0.3 | 0.65 | dimension 1 | 0.0017 | 0.0017 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:700 nm to 1000 nm,Bandwidth:&lt; 3 nm
11242 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OA-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.02 | 0.3 | (dimensionless) | 0.0015 | 0.0015 | (dimensionless) | 0.02 | 0.3 | dimension 1 | 0.0015 | 0.0015 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 400 nm,Bandwidth:&lt; 3 nm
11243 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OB-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.02 | 0.3 | (dimensionless) | 0.00022 | 0.00022 | (dimensionless) | 0.02 | 0.3 | dimension 1 | 0.00022 | 0.00022 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:400 nm to 1000 nm,Bandwidth:&lt; 3 nm
11244 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OC-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.001 | 0.02 | (dimensionless) | 0.0002 | 0.0002 | (dimensionless) | 0.001 | 0.02 | dimension 1 | 0.0002 | 0.0002 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 400 nm,Bandwidth:&lt; 3 nm
11245 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OD-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Transmittance, regular, spectral | 0.001 | 0.02 | (dimensionless) | 8e-05 | 8e-05 | (dimensionless) | 0.001 | 0.02 | dimension 1 | 8e-05 | 8e-05 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Transmittance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:400 nm to 1000 nm,Bandwidth:&lt; 3 nm
11246 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OE-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 0 | 0.19 | (dimensionless) | 0.0003 | 0.0005 | (dimensionless) | 0 | 0.19 | dimension 1 | 0.0003 | 0.0005 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 1000 nm,Bandwidth:&lt; 3 nm
11247 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OF-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 0.19 | 0.52 | (dimensionless) | 0.0019 | 0.0052 | (dimensionless) | 0.19 | 0.52 | dimension 1 | 0.0019 | 0.0052 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 400 nm,Bandwidth:&lt; 3 nm
11248 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OG-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 0.19 | 0.52 | (dimensionless) | 0.0009 | 0.0019 | (dimensionless) | 0.19 | 0.52 | dimension 1 | 0.0009 | 0.0019 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:400 nm to 700 nm,Bandwidth:&lt; 3 nm
11249 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OH-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 0.19 | 0.52 | (dimensionless) | 0.0011 | 0.0025 | (dimensionless) | 0.19 | 0.52 | dimension 1 | 0.0011 | 0.0025 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:700 nm to 1000 nm,Bandwidth:&lt; 3 nm
11250 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OI-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 0.52 | 1.7 | (dimensionless) | 0.0022 | 0.0339 | (dimensionless) | 0.52 | 1.7 | dimension 1 | 0.0022 | 0.0339 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 400 nm,Bandwidth:&lt; 3 nm
11251 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OJ-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 0.52 | 1.7 | (dimensionless) | 0.0003 | 0.0048 | (dimensionless) | 0.52 | 1.7 | dimension 1 | 0.0003 | 0.0048 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:400 nm to 1000 nm,Bandwidth:&lt; 3 nm
11252 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OK-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 1.7 | 3 | (dimensionless) | 0.03 | 0.0969 | (dimensionless) | 1.7 | 3 | dimension 1 | 0.03 | 0.0969 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:380 nm to 400 nm,Bandwidth:&lt; 3 nm
11253 | Published | 2019-10-22 | EURAMET-PR-CZ-000008OL-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Absorbance, regular, spectral | 1.7 | 3 | (dimensionless) | 0.0017 | 0.0362 | (dimensionless) | 1.7 | 3 | dimension 1 | 0.0017 | 0.0362 | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Absolute |  |  |  | 2017-04-20 | 2017-04-20 |  | Properties of materials | Spectral properties of materials | Absorbance, regular, spectral | Spectrally-neutral material | Spectrally-neutral material | Reference spectrometer | Wavelength:400 nm to 1000 nm,Bandwidth:&lt; 3 nm
11254 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OM-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Luminous intensity | 1 | 10000 | cd | 0.9 | 0.8 | % | 1 | 10000 | cd | 0.009 | 80 | cd | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Services available also for other sources than tungsten lamps, with uncertainty evaluated for specific sources. |  | 2017-04-20 | 2017-04-20 |  | Photometry | Photometry | Luminous intensity | Tungsten lamp | Tungsten lamp | Photometric bench and reference lamps or photometer | Correlated colour temperature:2000 K to 2856 K
11255 | Published | 2019-10-17 | EURAMET-PR-CZ-000008ON-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Luminous intensity | 1 | 10000 | cd | 0.8 | 0.9 | % | 1 | 10000 | cd | 0.008 | 90 | cd | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Services available also for other sources than tungsten lamps, with uncertainty evaluated for specific sources. |  | 2017-04-20 | 2017-04-20 |  | Photometry | Photometry | Luminous intensity | Tungsten lamp | Tungsten lamp | Photometric bench and reference lamps or photometer | Correlated colour temperature:2856 K to 3200 K
11256 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OO-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Illuminance responsivity, tungsten source |  |  | A/lx, V/lx, reading/lx | 0.9 | 0.8 | % |  |  | X/lx |  |  | X/lx | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Uncertainty varies with Illuminance. Services available also for other sources than tungsten lamps, with uncertainty evaluated for specific sources. |  | 2017-04-20 | 2017-04-20 |  | Photometry | Photometry | Illuminance responsivity | Tungsten source | Illuminance meter | Photometric bench and reference lamps or photometer | Illuminance:0.1 lx to 10 lx,Correlated colour temperature:2856 K
11257 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OP-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Illuminance responsivity, tungsten source |  |  | A/lx, V/lx, reading/lx | 0.8 | 0.8 | % |  |  | X/lx |  |  | X/lx | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Services available also for other sources than tungsten lamps, with uncertainty evaluated for specific sources. |  | 2017-04-20 | 2017-04-20 |  | Photometry | Photometry | Illuminance responsivity | Tungsten source | Illuminance meter | Photometric bench and reference lamps or photometer | Illuminance:10 lx to 1000 lx,Correlated colour temperature:2856 K
11258 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OQ-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Illuminance responsivity, tungsten source |  |  | A/lx, V/lx, reading/lx | 0.8 | 1.2 | % |  |  | X/lx |  |  | X/lx | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Uncertainty varies with Illuminance. Services available also for other sources than tungsten lamps, with uncertainty evaluated for specific sources. |  | 2017-04-20 | 2017-04-20 |  | Photometry | Photometry | Illuminance responsivity | Tungsten source | Illuminance meter | Photometric bench and reference lamps or photometer | Illuminance:1000 lx to 30000 lx,Correlated colour temperature:2856 K
11263 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OV-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity spectral, power |  |  | A/W, V/W, reading/W, W, dB, dBm | 0.95 | 0.95 | % |  |  | X/W |  |  | X/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detectors | Double grating monochromator | Wavelength range:300 nm to 405 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 µW
11264 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OW-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity spectral, power |  |  | A/W, V/W, reading/W, W, dB, dBm | 0.4 | 0.4 | % |  |  | X/W |  |  | X/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detectors | Double grating monochromator | Wavelength range:405 nm to 920 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 µW
11265 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OX-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity spectral, power |  |  | A/W, V/W, reading/W, W, dB, dBm | 0.5 | 0.5 | % |  |  | X/W |  |  | X/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detectors | Double grating monochromator | Wavelength range:920 nm to 960 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 µW
11266 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OY-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity spectral, power |  |  | A/W, V/W, reading/W, W, dB, dBm | 1.1 | 1.1 | % |  |  | X/W |  |  | X/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detectors | Double grating monochromator | Wavelength range:960 nm to 1000 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 µW
11267 | Published | 2019-10-17 | EURAMET-PR-CZ-000008OZ-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 1 | 1 | % |  |  | X/W/m2 |  |  | X/W/m2 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, irradiance | Broad band detector | Broad band detectors | Double grating monochromator and reference detectors | Wavelength:300 nm to 405 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 mW
11268 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P0-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 0.5 | 0.5 | % |  |  | X/W/m2 |  |  | X/W/m2 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, irradiance | Broad band detector | Broad band detectors | Double grating monochromator and reference detectors | Wavelength:405 nm to 920 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 mW
11269 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P1-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 0.6 | 0.6 | % |  |  | X/W/m2 |  |  | X/W/m2 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, irradiance | Broad band detector | Broad band detectors | Double grating monochromator and reference detectors | Wavelength:920 nm to 960 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 mW
11270 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P2-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 1.2 | 1.2 | % |  |  | X/W/m2 |  |  | X/W/m2 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2017-04-20 | 2017-04-20 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, irradiance | Broad band detector | Broad band detectors | Double grating monochromator and reference detectors | Wavelength:960 nm to 1000 nm,Bandwidth:&lt; 10 nm,Power level:&lt; 30 mW
11271 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P3-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity laser, power |  |  | A/W, V/W, reading/W, W, dB, dBm | 0.05 | 0.05 | % |  |  | X/W |  |  | X/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2010-09-30 | 2010-09-30 |  | Properties of detectors and sources | Properties of detectors | Responsivity, laser, power | General detector | Si-Trap Detectors | Cryogenic radiometer and laser | Wavelength range:laser lines from 356 nm to 413 nm,Power level:&lt; 1 mW
11272 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P4-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity laser, power |  |  | A/W, V/W, reading/W, W, dB, dBm | 0.03 | 0.03 | % |  |  | X/W |  |  | X/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Other types of detector can also be calibrated. |  | 2010-09-30 | 2010-09-30 |  | Properties of detectors and sources | Properties of detectors | Responsivity, laser, power | General detector | Si-Trap Detectors | Cryogenic radiometer and laser | Wavelength range:laser lines from 476 nm to 799 nm,Power level:&lt; 1 mW
11275 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P7-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Wavelength | 400 | 1650 | nm | 2e-06 | 2e-06 | (dimensionless) | 4e-07 | 1.65e-06 | m | 8e-13 | 3.3e-12 | m | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  |  |  | 2017-04-20 | 2017-04-20 |  | Fibre optics | Fibre optics | Wavelength | Fibre optic source | Fibre optic source | Reference wavemeter | CW Single fequency, Power level:&gt; 0.05 mW
11276 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P8-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Wavelength | 400 | 1650 | nm | 1e-07 | 1e-07 | (dimensionless) | 4e-07 | 1.65e-06 | m | 4e-14 | 1.65e-13 | m | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Measurements can be made at other wavelengths within this range, depending on the availability of a suitable laser source. |  | 2017-04-20 | 2017-04-20 |  | Fibre optics | Fibre optics | Wavelength | Optical spectrum analyser | Optical spectrum analyser | Primary wavelength standard or other frequency stabilized laser | CW Single fequency, Power level:&gt; 0.05 mW
11277 | Published | 2019-10-17 | EURAMET-PR-CZ-000008P9-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Wavelength | 400 | 1650 | nm | 1e-07 | 1e-07 | (dimensionless) | 4e-07 | 1.65e-06 | m | 4e-14 | 1.65e-13 | m | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative |  | Measurements can be made at other wavelengths within this range, depending on the availability of a suitable laser source. |  | 2017-04-20 | 2017-04-20 |  | Fibre optics | Fibre optics | Wavelength | Wavelength meter | Wavelength meter | Primary wavelength standard or other frequency stabilized laser | CW Single fequency, Power level:&gt; 0.05 mW
26948 | Published | 2022-01-04 | EURAMET-PR-CZ-00000K76-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 0.6 | 0.6 | % |  |  | X/W/m2 |  |  | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detector can also be calibrated. |  | 2020-05-06 | 2020-02-07 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, irradiance | Broad band detector | Broad band detector | Double grating monochromator and reference detectors | Wavelength:1000 nm to 1580 nm,Bandwidth:< 10 nm,Power level:< 30 mW
26949 | Published | 2022-01-04 | EURAMET-PR-CZ-00000K77-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 0.9 | 0.9 | % |  |  | X/W/m2 |  |  | dimension 1 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detector can also be calibrated. |  | 2020-05-06 | 2020-02-07 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, irradiance | Broad band detector | Broad band detector | Double grating monochromator and reference detectors | Wavelength:1580 nm to 1650 nm,Bandwidth:< 10 nm,Power level:< 30 mW
26950 | Published | 2020-05-06 | EURAMET-PR-CZ-000008P5-2 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, UV, broadband irradiance |  |  | A/(W m<sup>-2</sup>), V/(W m<sup>-2</sup>), reading/(W m<sup>-2</sup>) | 3.5 | 3.5 | % |  |  | X/W/m2 |  |  | X/W/m2 | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Higher values of Irradiance level can be measured with higher uncertainty |  | 2020-05-06 | 2020-02-07 |  | Properties of detectors and sources | Properties of detectors | Responsivity, UV, broadband irradiance | UV radiometer | UV-A radiometer | &nbsp;UV-A lamp and standard UV-A radiometer | Wavelength range:UV-A,Type of source:Hg discharge lamp, LED source,Irradiance level:&lt; 10 mW/cm<sup>2</sup>
26951 | Published | 2020-05-06 | EURAMET-PR-CZ-000008P6-2 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, UV, broadband radiant exposure |  |  | (J/m<sup>2</sup>)<sup>-1</sup> | 3.8 | 3.8 | % |  |  | (J/m<sup>2</sup>)<sup>-1</sup> |  |  | (J/m<sup>2</sup>)<sup>-1</sup> | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Higher values of exposure can be measured with higher uncertainty |  | 2020-05-06 | 2020-02-07 |  | Properties of detectors and sources | Properties of detectors | Responsivity, UV, broadband radiant exposure | UV radiometer | UV-A radiometer | UV-A lamp and standard UV-A radiometer | Wavelength range:UV-A,Type of source:Hg discharge lamp, LED source,Irradiance level:&lt; 10 mW/cm<sup>2</sup>
34742 | Published | 2022-04-12 | EURAMET-PR-CZ-00000N6Z-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 1.02 | 1.02 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty |  | 2022-04-12 | 2022-04-08 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:900 nm to 950 nm,Bandwidth:&nbsp;&lt; 10 nm,Power level:&lt; 30 mW
34743 | Published | 2022-04-12 | EURAMET-PR-CZ-00000N70-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 0.46 | 0.46 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty |  | 2022-04-12 | 2022-04-08 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:1000 nm to 1400 nm,Bandwidth:&nbsp;&lt; 10 nm,Power level:&lt; 30 mW
34744 | Published | 2022-03-17 | EURAMET-PR-CZ-00000N71-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 1 | 1 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty |  | 2022-03-17 | 2022-03-02 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:1410 nm to 1525 nm,Bandwidth:&nbsp;&lt; 10 nm,Power level:&lt; 30 mW
34745 | Published | 2022-04-12 | EURAMET-PR-CZ-00000N72-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 0.6 | 0.6 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty |  | 2022-04-12 | 2022-04-08 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:1550 nm to 1600 nm,Bandwidth:&nbsp;&lt; 10 nm,Power level:&lt; 30 mW
37720 | Published | 2022-02-14 | EURAMET-PR-CZ-000008OR-2 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Luminous flux | 10 | 30000 | lm | 0.9 | 1.5 | % | 10 | 30000 | lm | 9 | 45000 | lm | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | NPL |  |  | 2022-02-14 | 2017-04-20 |  | Photometry | Photometry | Luminous flux | Tungsten lamp | Tungsten lamp | Integrating sphere or goniophotometer | Correlated colour temperature:2000 K to 3200 K
37721 | Published | 2022-02-14 | EURAMET-PR-CZ-000008OS-2 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Illuminance | 0.1 | 10 | lx | 0.9 | 0.8 | % | 0.1 | 10 | lx | 0.09 | 8 | lx | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI |  |  | 2022-02-14 | 2017-04-20 |  | Photometry | Photometry | Illuminance | Tungsten lamp | Tungsten lamp | Photometric bench and reference lamps or photometer | Correlated colour temperature:2000 K to 3200 K
37724 | Published | 2022-02-14 | EURAMET-PR-CZ-000008OT-2 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Illuminance | 10 | 1000 | lx | 0.8 | 0.8 | % | 10 | 1000 | lx | 8 | 800 | lx | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI |  |  | 2022-02-14 | 2017-04-20 |  | Photometry | Photometry | Illuminance | Tungsten lamp | Tungsten lamp | Photometric bench and reference lamps or photometer | Correlated colour temperature:2000 K to 3200 K
37725 | Published | 2022-02-14 | EURAMET-PR-CZ-000008OU-2 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Illuminance | 1000 | 30000 | lx | 0.8 | 1.2 | % | 1000 | 30000 | lx | 800 | 36000 | lx | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI |  |  | 2022-02-14 | 2017-04-20 |  | Photometry | Photometry | Illuminance | Tungsten lamp | Tungsten lamp | Photometric bench and reference lamps or photometer | Correlated colour temperature:2000 K to 3200 K
37925 | Published | 2022-05-10 | EURAMET-PR-CZ-00000NVY-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 0.46 | 1.02 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty.<br /> The expanded uncertainty depends on the parameter wavelength. The Expanded uncertainty U min is valid at the upper limit of the wavelength range. The Expanded uncertainty U max is valid at the lower limit of the wavelength range. A linear interpolation of the expanded uncertainty is to be used to calculate the expanded uncertainty at intermediate wavelengths. &rdquo; |  | 2022-05-10 | 2022-05-05 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:950 nm to 1000 nm,Bandwidth:&lt; 10 nm,Power:&lt; 30 mW
37928 | Published | 2022-05-10 | EURAMET-PR-CZ-00000NVZ-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 0.6 | 1 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty.<br /> The expanded uncertainty depends on the parameter wavelength. The Expanded uncertainty U min is valid at the upper limit of the wavelength range. The Expanded uncertainty U max is valid at the lower limit of the wavelength range. A linear interpolation of the expanded uncertainty is to be used to calculate the expanded uncertainty at intermediate wavelengths. |  | 2022-05-10 | 2022-05-05 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:1525 nm to 1550 nm,Bandwidth:&lt; 10 nm,Power:&lt; 30 mW
37929 | Published | 2022-04-12 | EURAMET-PR-CZ-00000NW0-1 | PHYSICS | PR | EURAMET | Czechia | CMI | Czech Metrology Institute |  |  | Responsivity, spectral, power |  |  | A/W, V/W, reading/W | 0.46 | 1.02 | % |  |  | A/W, V/W, reading/W |  |  | A/W, V/W, reading/W | 95 | 2 |  |  |  | 0 | 0 |  | <masked> | Relative | CMI | Other types of detectors can be also calibrated. Higher vales of the power can be measured with the higher uncertainty |  | 2022-04-12 | 2022-04-08 |  | Properties of detectors and sources | Properties of detectors | Responsivity, spectral, power | Broad band detector | Broad band detector | Double grating monochromator and reference detector | Wavelength:1400 nm to 1410 nm,Bandwidth:&lt; 10 nm,Power:&lt; 30 mW